## Sheet
Sheet Name | Description
J23-0064-ITC-007-01 | CA.39.03A: SO2 to SO3 Converter Heater - Controller Output Reference
J23-0064-ITC-007-02 | CA.39.03B: SO2 to SO3 Converter Heater - Controller Output Reference
J23-0064-ITC-007-03 | TIC.158: SO2 to SO3 converter temperature control
J23-0064-ITC-007-04 | TIC.115: SO2 Vaporiser - Flow Control Valve
J23-0064-ITC-007-05 | FIC.155: SO2 Converter - Flow Control Valve
J23-0064-ITC-007-06 | FIC.255: NH3 Mixing Tee - NH3 Flow Control Valve
J23-0064-ITC-007-07 | FIC.405: Hose Treatment - Flushing Water Control Valve
J23-0064-ITC-007-08 | FIC.658: SO2 Air Preheater - Flow Control Valve
J23-0064-ITC-007-09 | FIC.662: NH3 Mixing Tee - Air Flow Control Valve
J23-0064-ITC-007-10 | TIC.253: NH3 Vaporiser - Flow Control Valve

## J23-0064-ITC-007-01
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 to SO3 Converter Heater - Controller Output Reference |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [TIC_656] in Auto | Set [TIC_656] SP in HMI Faceplate | [TIC_656] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [TIC_656] setpoint | [TIC_656] HMI Faceplate SP changes to new value [TIC_656] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [CA.39.03A] input | [CA.39.03A] Loop disabled [CA.39.03A] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [CA.39.03A] HMI PID Faceplate | [CA.39.03A] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [CA.39.03A] HMI PID Faceplate | [CA.39.03A] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [CA.39.03A] HMI PID Faceplate | [CA.39.03A] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-02
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 to SO3 Converter Heater - Controller Output Reference |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [TIC_656] in Auto | Set [TIC_656] SP in HMI Faceplate | [TIC_656] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [TIC_656] setpoint | [TIC_656] HMI Faceplate SP changes to new value [TIC_656] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [CA.39.03B] input | [CA.39.03B] Loop disabled [CA.39.03B] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [CA.39.03B] HMI PID Faceplate | [CA.39.03B] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [CA.39.03B] HMI PID Faceplate | [CA.39.03B] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [CA.39.03B] HMI PID Faceplate | [CA.39.03B] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-03
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 to SO3 converter temperature control |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [TIC_158] in Auto | Set [TIC_158] SP in HMI Faceplate | [TIC_158] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [TIC_158] setpoint | [TIC_158] HMI Faceplate SP changes to new value [TIC_158] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [TIC.158] input | [TIC.158] Loop disabled [TIC.158] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [TIC.158] HMI PID Faceplate | [TIC.158] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [TIC.158] HMI PID Faceplate | [TIC.158] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [TIC.158] HMI PID Faceplate | [TIC.158] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-04
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Vaporiser - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [TIC_115] in Auto | Set [TIC_115] SP in HMI Faceplate | [TIC_115] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [TIC_115] setpoint | [TIC_115] HMI Faceplate SP changes to new value [TIC_115] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [TIC.115] input | [TIC.115] Loop disabled [TIC.115] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [TIC.115] HMI PID Faceplate | [TIC.115] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [TIC.115] HMI PID Faceplate | [TIC.115] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [TIC.115] HMI PID Faceplate | [TIC.115] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-05
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Converter - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [FIC_155] in Auto | Set [FIC_155] SP in HMI Faceplate | [FIC_155] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [FIC_155] setpoint | [FIC_155] HMI Faceplate SP changes to new value [FIC_155] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [FIC.155] input | [FIC.155] Loop disabled [FIC.155] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [FIC.155] HMI PID Faceplate | [FIC.155] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [FIC.155] HMI PID Faceplate | [FIC.155] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [FIC.155] HMI PID Faceplate | [FIC.155] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-06
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Mixing Tee - NH3 Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [FIC_255] in Auto | Set [FIC_255] SP in HMI Faceplate | [FIC_255] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [FIC_255] setpoint | [FIC_255] HMI Faceplate SP changes to new value [FIC_255] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [FIC.255] input | [FIC.255] Loop disabled [FIC.255] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [FIC.255] HMI PID Faceplate | [FIC.255] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [FIC.255] HMI PID Faceplate | [FIC.255] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [FIC.255] HMI PID Faceplate | [FIC.255] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-07
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Treatment - Flushing Water Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [FIC_405] in Auto | Set [FIC_405] SP in HMI Faceplate | [FIC_405] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [FIC_405] setpoint | [FIC_405] HMI Faceplate SP changes to new value [FIC_405] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [FIC.405] input | [FIC.405] Loop disabled [FIC.405] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [FIC.405] HMI PID Faceplate | [FIC.405] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [FIC.405] HMI PID Faceplate | [FIC.405] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [FIC.405] HMI PID Faceplate | [FIC.405] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-08
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Air Preheater - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [FIC_658] in Auto | Set [FIC_658] SP in HMI Faceplate | [FIC_658] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [FIC_658] setpoint | [FIC_658] HMI Faceplate SP changes to new value [FIC_658] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [FIC.658] input | [FIC.658] Loop disabled [FIC.658] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [FIC.658] HMI PID Faceplate | [FIC.658] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [FIC.658] HMI PID Faceplate | [FIC.658] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [FIC.658] HMI PID Faceplate | [FIC.658] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-09
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Mixing Tee - Air Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [FIC_662] in Auto | Set [FIC_662] SP in HMI Faceplate | [FIC_662] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [FIC_662] setpoint | [FIC_662] HMI Faceplate SP changes to new value [FIC_662] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [FIC.662] input | [FIC.662] Loop disabled [FIC.662] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [FIC.662] HMI PID Faceplate | [FIC.662] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [FIC.662] HMI PID Faceplate | [FIC.662] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [FIC.662] HMI PID Faceplate | [FIC.662] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-007-10
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Vaporiser - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Control Loop
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | Loop Auto Control | [TIC_253] in Auto | Set [TIC_253] SP in HMI Faceplate | [TIC_253] OP speed controlled to setpoint
2 | Setpoint |  | Step change on [TIC_253] setpoint | [TIC_253] HMI Faceplate SP changes to new value [TIC_253] change in response to new setpoint
3 | Loop Fault |  | Overrange / Underrange fault on [TIC.253] input | [TIC.253] Loop disabled [TIC.253] Loop fault alarm
4 | Tunning Parameters | Log on as Administrator | Input new Proportional value through [TIC.253] HMI PID Faceplate | [TIC.253] KP value updated to new value
5 |  | Log on as Administrator | Input new Integral value through [TIC.253] HMI PID Faceplate | [TIC.253] KI value updated to new value
6 |  | Log on as Administrator | Input new Derivative value through [TIC.253] HMI PID Faceplate | [TIC.253] KD value updated to new value
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed: