## Sheet
Sheet Name | Description
J23-0064-ITC-004-01 | TIC.115: SO2 Vaporiser - Flow Control Valve
J23-0064-ITC-004-02 | FIC.155: SO2 Converter - Flow Control Valve
J23-0064-ITC-004-03 | FIC.255: NH3 Mixing Tee - NH3 Flow Control Valve
J23-0064-ITC-004-04 | FIC.405: Hose Treatment - Flushing Water Control Valve
J23-0064-ITC-004-05 | FIC.658: SO2 Air Preheater - Flow Control Valve
J23-0064-ITC-004-06 | FIC.662: NH3 Mixing Tee - Air Flow Control Valve
J23-0064-ITC-004-07 | TIC.253: NH3 Vaporiser - Flow Control Valve
J23-0064-ITC-004-08 | TIC.158: SO2 to SO3 converter temperature control

## J23-0064-ITC-004-01
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Vaporiser - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [TIC.115] Valve Open 0% | [TIC.115] Auto Mode | Operate [TIC_115_AO] using [TIC_115_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch0] measures 4mA
2 | [TIC.115] Valve Open 25% | [TIC.115] Auto Mode | Operate [TIC_115_AO] using [TIC_115_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch0] measures 8mA
3 | [TIC.115] Valve Open 50% | [TIC.115] Auto Mode | Operate [TIC_115_AO] using [TIC_115_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch0] measures 12mA
4 | [TIC.115] Valve Open 75% | [TIC.115] Auto Mode | Operate [TIC_115_AO] using [TIC_115_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch0] measures 16mA
5 | [TIC.115] Valve Open 100% | [TIC.115] Auto Mode | Operate [TIC_115_AO] using [TIC_115_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch0] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-02
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Converter - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [FIC.155] Valve Open 0% | [FIC.155] Auto Mode | Operate [FIC_155_AO] using [FIC_155_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch1] measures 4mA
2 | [FIC.155] Valve Open 25% | [FIC.155] Auto Mode | Operate [FIC_155_AO] using [FIC_155_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch1] measures 8mA
3 | [FIC.155] Valve Open 50% | [FIC.155] Auto Mode | Operate [FIC_155_AO] using [FIC_155_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch1] measures 12mA
4 | [FIC.155] Valve Open 75% | [FIC.155] Auto Mode | Operate [FIC_155_AO] using [FIC_155_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch1] measures 16mA
5 | [FIC.155] Valve Open 100% | [FIC.155] Auto Mode | Operate [FIC_155_AO] using [FIC_155_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch1] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-03
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Mixing Tee - NH3 Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [FIC.255] Valve Open 0% | [FIC.255] Auto Mode | Operate [FIC_255_AO] using [FIC_255_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch2] measures 4mA
2 | [FIC.255] Valve Open 25% | [FIC.255] Auto Mode | Operate [FIC_255_AO] using [FIC_255_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch2] measures 8mA
3 | [FIC.255] Valve Open 50% | [FIC.255] Auto Mode | Operate [FIC_255_AO] using [FIC_255_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch2] measures 12mA
4 | [FIC.255] Valve Open 75% | [FIC.255] Auto Mode | Operate [FIC_255_AO] using [FIC_255_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch2] measures 16mA
5 | [FIC.255] Valve Open 100% | [FIC.255] Auto Mode | Operate [FIC_255_AO] using [FIC_255_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch2] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-04
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Treatment - Flushing Water Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [FIC.405] Valve Open 0% | [FIC.405] Auto Mode | Operate [FIC_405_AO] using [FIC_405_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch3] measures 4mA
2 | [FIC.405] Valve Open 25% | [FIC.405] Auto Mode | Operate [FIC_405_AO] using [FIC_405_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch3] measures 8mA
3 | [FIC.405] Valve Open 50% | [FIC.405] Auto Mode | Operate [FIC_405_AO] using [FIC_405_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch3] measures 12mA
4 | [FIC.405] Valve Open 75% | [FIC.405] Auto Mode | Operate [FIC_405_AO] using [FIC_405_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch3] measures 16mA
5 | [FIC.405] Valve Open 100% | [FIC.405] Auto Mode | Operate [FIC_405_AO] using [FIC_405_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch3] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-05
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Air Preheater - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [FIC.658] Valve Open 0% | [FIC.658] Auto Mode | Operate [FIC_658_AO] using [FIC_658_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch4] measures 4mA
2 | [FIC.658] Valve Open 25% | [FIC.658] Auto Mode | Operate [FIC_658_AO] using [FIC_658_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch4] measures 8mA
3 | [FIC.658] Valve Open 50% | [FIC.658] Auto Mode | Operate [FIC_658_AO] using [FIC_658_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch4] measures 12mA
4 | [FIC.658] Valve Open 75% | [FIC.658] Auto Mode | Operate [FIC_658_AO] using [FIC_658_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch4] measures 16mA
5 | [FIC.658] Valve Open 100% | [FIC.658] Auto Mode | Operate [FIC_658_AO] using [FIC_658_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch4] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-06
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Mixing Tee - Air Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [FIC.662] Valve Open 0% | [FIC.662] Auto Mode | Operate [FIC_662_AO] using [FIC_662_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch5] measures 4mA
2 | [FIC.662] Valve Open 25% | [FIC.662] Auto Mode | Operate [FIC_662_AO] using [FIC_662_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch5] measures 8mA
3 | [FIC.662] Valve Open 50% | [FIC.662] Auto Mode | Operate [FIC_662_AO] using [FIC_662_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch5] measures 12mA
4 | [FIC.662] Valve Open 75% | [FIC.662] Auto Mode | Operate [FIC_662_AO] using [FIC_662_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch5] measures 16mA
5 | [FIC.662] Valve Open 100% | [FIC.662] Auto Mode | Operate [FIC_662_AO] using [FIC_662_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch5] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-07
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Vaporiser - Flow Control Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [TIC.253] Valve Open 0% | [TIC.253] Auto Mode | Operate [TIC_253_AO] using [TIC_253_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S7/Ch6] measures 4mA
2 | [TIC.253] Valve Open 25% | [TIC.253] Auto Mode | Operate [TIC_253_AO] using [TIC_253_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S7/Ch6] measures 8mA
3 | [TIC.253] Valve Open 50% | [TIC.253] Auto Mode | Operate [TIC_253_AO] using [TIC_253_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S7/Ch6] measures 12mA
4 | [TIC.253] Valve Open 75% | [TIC.253] Auto Mode | Operate [TIC_253_AO] using [TIC_253_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S7/Ch6] measures 16mA
5 | [TIC.253] Valve Open 100% | [TIC.253] Auto Mode | Operate [TIC_253_AO] using [TIC_253_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S7/Ch6] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-004-08
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 to SO3 converter temperature control |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Analogue Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
1 | [TIC.158] Valve Open 0% | [TIC.158] Auto Mode | Operate [TIC_158_AO] using [TIC_158_cmd_AutPosition] to 0% | Valve indicates 0% on HMI [R1/S6/Ch2] measures 4mA
2 | [TIC.158] Valve Open 25% | [TIC.158] Auto Mode | Operate [TIC_158_AO] using [TIC_158_cmd_AutPosition] to 25% | Valve indicates 25% on HMI [R1/S6/Ch2] measures 8mA
3 | [TIC.158] Valve Open 50% | [TIC.158] Auto Mode | Operate [TIC_158_AO] using [TIC_158_cmd_AutPosition] to 50% | Valve indicates 50% on HMI [R1/S6/Ch2] measures 12mA
4 | [TIC.158] Valve Open 75% | [TIC.158] Auto Mode | Operate [TIC_158_AO] using [TIC_158_cmd_AutPosition] to 75% | Valve indicates 75% on HMI [R1/S6/Ch2] measures 16mA
5 | [TIC.158] Valve Open 100% | [TIC.158] Auto Mode | Operate [TIC_158_AO] using [TIC_158_cmd_AutPosition] to 100% | Valve indicates 100% on HMI [R1/S6/Ch2] measures 20mA
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed: