## Sheet
Sheet Name | Description
J23-0064-ITC-002-01 | SV_150: SO2 Bottle 1 - Solenoid Valve
J23-0064-ITC-002-02 | SV_151: SO2 Bottle 2 - Solenoid Valve
J23-0064-ITC-002-03 | SV_250: NH3 Tank - Solenoid Valve
J23-0064-ITC-002-04 | SV_650: SO2 Line Air Flushing - Solenoid Valve
J23-0064-ITC-002-05 | SV_651: Air Preheater - Air Solenoid Valve
J23-0064-ITC-002-06 | SV_660: NH3 Line Air Flushing - Solenoid Valve
J23-0064-ITC-002-07 | SV_654: NH3 Mixing Tee - Air Solenoid Valve
J23-0064-ITC-002-08 | SV_411: SO2 Scrubber - Water Isolation Solenoid Valve
J23-0064-ITC-002-09 | HS_673: Air Receiver - Discharge Isolation Valve
J23-0064-ITC-002-10 | HS_328: Waste Water Tank - Discharge Solenoid Valve
J23-0064-ITC-002-11 | SV_302: NH3 Scrubber Water Recirculation - Solenoid Valve
J23-0064-ITC-002-12 | SV_412: NH3 Spray Water Solenoid Valve
J23-0064-ITC-002-13 | SV_413: NH3 Scrubber To Waste Water Tank Solenoid Valve
J23-0064-ITC-002-14 | SV_100: SO3 Gas to Scrubber Solenoid Valve
J23-0064-ITC-002-15 | SV_101: SO3 Gas Forward Supply to Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-16 | SV_102: SO3 Gas Forward Supply to Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-17 | SV_103: SO3 Gas Forward Supply to Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-18 | SV_111: SO3 Gas Reverse Supply to Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-19 | SV_112: SO3 Gas Reverse Supply to Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-20 | SV_113: SO3 Gas Reverse Supply to Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-21 | SV_121: SO3 Gas Reverse Return from Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-22 | SV_122: SO3 Gas Reverse Return from Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-23 | SV_123: SO3 Gas Reverse Return from Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-24 | SV_131: SO3 Gas Forward Return from Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-25 | SV_132: SO3 Gas Forward Return from Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-26 | SV_133: SO3 Gas Forward Return from Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-27 | SV_200: NH3 Gas to Scrubber Solenoid Valve
J23-0064-ITC-002-28 | SV_201: NH3 Gas Forward Supply to Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-29 | SV_202: NH3 Gas Forward Supply to Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-30 | SV_203: NH3 Gas Forward Supply to Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-31 | SV_211: NH3 Gas Reverse Supply to Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-32 | SV_212: NH3 Gas Reverse Supply to Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-33 | SV_213: NH3 Gas Reverse Supply to Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-34 | SV_221: NH3 Gas Reverse Return from Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-35 | SV_222: NH3 Gas Reverse Return from Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-36 | SV_223: NH3 Gas Reverse Return from Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-37 | SV_231: NH3 Gas Forward Return from Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-38 | SV_232: NH3 Gas Forward Return from Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-39 | SV_233: NH3 Gas Forward Return from Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-40 | SV_311: Flushing Water Forward Return from Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-41 | SV_312: Flushing Water Forward Return from Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-42 | SV_313: Flushing Water Forward Return from Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-43 | SV_401: Flushing Water Forward Supply to Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-44 | SV_402: Flushing Water Forward Supply to Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-45 | SV_403: Flushing Water Forward Supply to Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-46 | SV_811: Hose Pair Bank Supply Hose Pair 1 Solenoid Valve
J23-0064-ITC-002-47 | SV_812: Hose Pair Bank Supply Hose Pair 4 Solenoid Valve
J23-0064-ITC-002-48 | SV_821: Hose Pair Bank Supply Hose Pair 2 Solenoid Valve
J23-0064-ITC-002-49 | SV_822: Hose Pair Bank Supply Hose Pair 5 Solenoid Valve
J23-0064-ITC-002-50 | SV_831: Hose Pair Bank Supply Hose Pair 3 Solenoid Valve
J23-0064-ITC-002-51 | SV_832: Hose Pair Bank Supply Hose Pair 6 Solenoid Valve
J23-0064-ITC-002-52 | SV_601: Dried Air Forward Supply to Hose Pair 1&4 Solenoid Valve
J23-0064-ITC-002-53 | SV_602: Dried Air Forward Supply to Hose Pair 2&5 Solenoid Valve
J23-0064-ITC-002-54 | SV_603: Dried Air Forward Supply to Hose Pair 3&6 Solenoid Valve
J23-0064-ITC-002-55 | SV_911: Hose Pair Bank Return Hose Pair 1 Solenoid Valve
J23-0064-ITC-002-56 | SV_912: Hose Pair Bank Return Hose Pair 4 Solenoid Valve
J23-0064-ITC-002-57 | SV_921: Hose Pair Bank Return Hose Pair 2 Solenoid Valve
J23-0064-ITC-002-58 | SV_922: Hose Pair Bank Return Hose Pair 5 Solenoid Valve
J23-0064-ITC-002-59 | SV_931: Hose Pair Bank Return Hose Pair 3 Solenoid Valve
J23-0064-ITC-002-60 | SV_932: Hose Pair Bank Return Hose Pair 6 Solenoid Valve

## J23-0064-ITC-002-01
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Bottle 1 - Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_150] Valve Open Condition 1 | [SV_150] Auto Mode [SO3 Manufacuring Active and Cylinder 1 Required] is Off | Operate [SO3 Manufacuring Active and Cylinder 1 Required] | [SV_150_open] = 1
| [SV_150] Valve Close Condition 1 | [SV_150] Open [SO3 Manufacuring Active and Cylinder 2 Required] is Off | Operate [SO3 Manufacuring Active and Cylinder 2 Required] | [SV_150_open] = 0
| [SV_150] Valve Close Condition 2 | [SV_150] Open [Trip 100] is Off | Operate [Trip 100] | [SV_150_open] = 0
| [SV_150] Valve Close Condition 3 | [SV_150] Open [Trip 101] is Off | Operate [Trip 101] | [SV_150_open] = 0
| [SV_150] Valve Close Condition 4 | [SV_150] Open [Trip 500] is Off | Operate [Trip 500] | [SV_150_open] = 0
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-02
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Bottle 2 - Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_151] Valve Open Condition 1 | [SV_151] Auto Mode [SO3 Manufacuring Active and Cylinder 2 Required] is Off | Operate [SO3 Manufacuring Active and Cylinder 2 Required] | [SV_151_open] = 1
| [SV_151] Valve Close Condition 1 | [SV_151] Open [SO3 Manufacuring Active and Cylinder 1 Required] is Off | Operate [SO3 Manufacuring Active and Cylinder 1 Required] | [SV_151_open] = 0
| [SV_151] Valve Close Condition 2 | [SV_151] Open [Trip 100] is Off | Operate [Trip 100] | [SV_151_open] = 0
| [SV_151] Valve Close Condition 3 | [SV_151] Open [Trip 101] is Off | Operate [Trip 101] | [SV_151_open] = 0
| [SV_151] Valve Close Condition 4 | [SV_151] Open [Trip 500] is Off | Operate [Trip 500] | [SV_151_open] = 0
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-03
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Tank - Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_250] Valve Open Condition 1 | [SV_250] Auto Mode [NH3 Manufacturing Active] is Off | Operate [NH3 Manufacturing Active] | [SV_250_open] = 1
| [SV_250] Valve Close Condition 1 | [SV_250] Open [Trip 100] is Off | Operate [Trip 100] | [SV_250_open] = 0
| [SV_250] Valve Close Condition 2 | [SV_250] Open [Trip 101] is Off | Operate [Trip 101] | [SV_250_open] = 0
| [SV_250] Valve Close Condition 3 | [SV_250] Open [Trip 500] is Off | Operate [Trip 500] | [SV_250_open] = 0
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-04
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Line Air Flushing - Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_650] Valve Open Condition 1 | [SV_650] Auto Mode [Trip 100] is Off | Operate [Trip 100] | [SV_650_open] = 1
| [SV_650] Valve Open Condition 2 |  | Operate [Trip 101] | [SV_650_open] = 1
| [SV_650] Valve Open Condition 3 | [SV_650] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_650_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-05
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Air Preheater - Air Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_651] Valve Open Condition 1 | [SV_651] Auto Mode [SO3 Converter Active] is Off | Operate [SO3 Converter Active] | [SV_651_open] = 1
| [SV_651] Valve Open Condition 2 |  | Operate [Trip 100] | [SV_651_open] = 1
| [SV_651] Valve Open Condition 3 | [SV_651] Auto Mode [Trip 101] is Off | Operate [Trip 101] | [SV_651_open] = 1
| [SV_651] Valve Open Condition 4 | [SV_651] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_651_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-06
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Line Air Flushing - Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_660] Valve Open Condition 1 | [SV_660] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_660_open] = 1
| [SV_660] Valve Open Condition 2 |  | Operate [Trip 100] | [SV_660_open] = 1
| [SV_660] Valve Open Condition 3 | [SV_660] Auto Mode [Trip 101] is Off | Operate [Trip 101] | [SV_660_open] = 1
| [SV_660] Valve Open Condition 4 | [SV_660] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_660_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-07
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Mixing Tee - Air Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_654] Valve Open Condition 1 | [SV_654] Auto Mode [NH3 Manufacturing Active] is Off | Operate [NH3 Manufacturing Active] | [SV_654_open] = 1
| [SV_654] Valve Open Condition 2 |  | Operate [Trip 100] | [SV_654_open] = 1
| [SV_654] Valve Open Condition 3 | [SV_654] Auto Mode [Trip 101] is Off | Operate [Trip 101] | [SV_654_open] = 1
| [SV_654] Valve Open Condition 4 | [SV_654] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_654_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-08
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO2 Scrubber - Water Isolation Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_411] Valve Open Condition 1 | [SV_411] Auto Mode [SO2 Scrubber Active] is Off | Operate [SO2 Scrubber Active] | [SV_411_open] = 1
| [SV_411] Valve Close Condition 1 | [SV_411] Open [Trip 100] is Off | Operate [Trip 100] | [SV_411_open] = 0
| [SV_411] Valve Close Condition 2 | [SV_411] Open [Trip 101] is Off | Operate [Trip 101] | [SV_411_open] = 0
| [SV_411] Valve Close Condition 3 | [SV_411] Open [Trip 500] is Off | Operate [Trip 500] | [SV_411_open] = 0
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-09
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Air Receiver - Discharge Isolation Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [HS_673] Valve Open Condition 1 | [HS_673] Auto Mode [Compressed Air Required] is Off | Operate [Compressed Air Required] | [HS_673_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-10
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Waste Water Tank - Discharge Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [HS_328] Valve Open Condition 1 | [HS_328] Auto Mode [Wastewater Discharge Active] is Off | Operate [Wastewater Discharge Active] | [HS_328_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-11
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Scrubber Water Recirculation - Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_302] Valve Open Condition 1 | [SV_302] Auto Mode [NH3 Scrubber Active] is Off | Operate [NH3 Scrubber Active] | [SV_302_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-12
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Spray Water Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_412] Valve Open Condition 1 | [SV_412] Auto Mode [NH3 Scrubber Active] is Off | Operate [NH3 Scrubber Active] | [SV_412_open] = 1
| [SV_412] Valve Close Condition 1 | [SV_412] Open [Trip 100] is Off | Operate [Trip 100] | [SV_412_open] = 0
| [SV_412] Valve Close Condition 2 | [SV_412] Open [Trip 101] is Off | Operate [Trip 101] | [SV_412_open] = 0
| [SV_412] Valve Close Condition 3 | [SV_412] Open [Trip 500] is Off | Operate [Trip 500] | [SV_412_open] = 0
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-13
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Scrubber To Waste Water Tank Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_413] Valve Open Condition 1 | [SV_413] Auto Mode [Wastewater Transfer Active] is Off | Operate [Wastewater Transfer Active] | [SV_413_open] = 1
| [SV_413] Valve Close Condition 1 | [SV_413] Open [Trip 100] is Off | Operate [Trip 100] | [SV_413_open] = 0
| [SV_413] Valve Close Condition 2 | [SV_413] Open [Trip 101] is Off | Operate [Trip 101] | [SV_413_open] = 0
| [SV_413] Valve Close Condition 3 | [SV_413] Open [Trip 500] is Off | Operate [Trip 500] | [SV_413_open] = 0
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-14
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas to Scrubber Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_100] Valve Open Condition 1 | [SV_100] Auto Mode [SO2 Converter Active and SO3 Manufacuring Active to SO2 Scrubber] is Off | Operate [SO2 Converter Active and SO3 Manufacuring Active to SO2 Scrubber] | [SV_100_open] = 1
| [SV_100] Valve Open Condition 2 |  | Operate [Trip 100] | [SV_100_open] = 1
| [SV_100] Valve Open Condition 3 | [SV_100] Auto Mode [Trip 101] is Off | Operate [Trip 101] | [SV_100_open] = 1
| [SV_100] Valve Open Condition 4 | [SV_100] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_100_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-15
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Forward Supply to Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_101] Valve Open Condition 1 | [SV_101] Auto Mode [Hose Pair 1 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 1 SO3 Treatment Forward Active] | [SV_101_open] = 1
| [SV_101] Valve Open Condition 2 |  | Operate [Hose Pair 4 SO3 Treatment Forward Active] | [SV_101_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-16
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Forward Supply to Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_102] Valve Open Condition 1 | [SV_102] Auto Mode [Hose Pair 2 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 2 SO3 Treatment Forward Active] | [SV_102_open] = 1
| [SV_102] Valve Open Condition 2 |  | Operate [Hose Pair 5 SO3 Treatment Forward Active] | [SV_102_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-17
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Forward Supply to Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_103] Valve Open Condition 1 | [SV_103] Auto Mode [Hose Pair 3 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 3 SO3 Treatment Forward Active] | [SV_103_open] = 1
| [SV_103] Valve Open Condition 2 |  | Operate [Hose Pair 6 SO3 Treatment Forward Active] | [SV_103_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-18
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Reverse Supply to Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_111] Valve Open Condition 1 | [SV_111] Auto Mode [Hose Pair 1 SO3 Treatment Reverse Active] is Off | Operate [Hose Pair 1 SO3 Treatment Reverse Active] | [SV_111_open] = 1
| [SV_111] Valve Open Condition 2 |  | Operate [Hose Pair 4 SO3 Treatment Reverse Active] | [SV_111_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-19
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Reverse Supply to Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_112] Valve Open Condition 1 | [SV_112] Auto Mode [Hose Pair 2 SO3 Treatment Reverse Active] is Off | Operate [Hose Pair 2 SO3 Treatment Reverse Active] | [SV_112_open] = 1
| [SV_112] Valve Open Condition 2 |  | Operate [Hose Pair 5 SO3 Treatment Reverse Active] | [SV_112_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-20
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Reverse Supply to Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_113] Valve Open Condition 1 | [SV_113] Auto Mode [Hose Pair 3 SO3 Treatment Reverse Active] is Off | Operate [Hose Pair 3 SO3 Treatment Reverse Active] | [SV_113_open] = 1
| [SV_113] Valve Open Condition 2 |  | Operate [Hose Pair 6 SO3 Treatment Reverse Active] | [SV_113_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-21
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Reverse Return from Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_121] Valve Open Condition 1 | [SV_121] Auto Mode [Hose Pair 1 SO3 Treatment Reverse Active] is Off | Operate [Hose Pair 1 SO3 Treatment Reverse Active] | [SV_121_open] = 1
| [SV_121] Valve Open Condition 2 |  | Operate [Hose Pair 4 SO3 Treatment Reverse Active] | [SV_121_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-22
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Reverse Return from Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_122] Valve Open Condition 1 | [SV_122] Auto Mode [Hose Pair 2 SO3 Treatment Reverse Active] is Off | Operate [Hose Pair 2 SO3 Treatment Reverse Active] | [SV_122_open] = 1
| [SV_122] Valve Open Condition 2 |  | Operate [Hose Pair 5 SO3 Treatment Reverse Active] | [SV_122_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-23
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Reverse Return from Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_123] Valve Open Condition 1 | [SV_123] Auto Mode [Hose Pair 3 SO3 Treatment Reverse Active] is Off | Operate [Hose Pair 3 SO3 Treatment Reverse Active] | [SV_123_open] = 1
| [SV_123] Valve Open Condition 2 |  | Operate [Hose Pair 6 SO3 Treatment Reverse Active] | [SV_123_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-24
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Forward Return from Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_131] Valve Open Condition 1 | [SV_131] Auto Mode [Hose Pair 1 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 1 SO3 Treatment Forward Active] | [SV_131_open] = 1
| [SV_131] Valve Open Condition 2 |  | Operate [Hose Pair 1 Purging to SO3 Scrubber] | [SV_131_open] = 1
| [SV_131] Valve Open Condition 3 | [SV_131] Auto Mode [Hose Pair 4 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 4 SO3 Treatment Forward Active] | [SV_131_open] = 1
| [SV_131] Valve Open Condition 4 | [SV_131] Auto Mode [Hose Pair 4 Purging to SO3 Scrubber] is Off | Operate [Hose Pair 4 Purging to SO3 Scrubber] | [SV_131_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-25
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Forward Return from Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_132] Valve Open Condition 1 | [SV_132] Auto Mode [Hose Pair 2 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 2 SO3 Treatment Forward Active] | [SV_132_open] = 1
| [SV_132] Valve Open Condition 2 |  | Operate [Hose Pair 2 Purging to SO3 Scrubber] | [SV_132_open] = 1
| [SV_132] Valve Open Condition 3 | [SV_132] Auto Mode [Hose Pair 5 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 5 SO3 Treatment Forward Active] | [SV_132_open] = 1
| [SV_132] Valve Open Condition 4 | [SV_132] Auto Mode [Hose Pair 5 Purging to SO3 Scrubber] is Off | Operate [Hose Pair 5 Purging to SO3 Scrubber] | [SV_132_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-26
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | SO3 Gas Forward Return from Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_133] Valve Open Condition 1 | [SV_133] Auto Mode [Hose Pair 3 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 3 SO3 Treatment Forward Active] | [SV_133_open] = 1
| [SV_133] Valve Open Condition 2 |  | Operate [Hose Pair 3 Purging to SO3 Scrubber] | [SV_133_open] = 1
| [SV_133] Valve Open Condition 3 | [SV_133] Auto Mode [Hose Pair 6 SO3 Treatment Forward Active] is Off | Operate [Hose Pair 6 SO3 Treatment Forward Active] | [SV_133_open] = 1
| [SV_133] Valve Open Condition 4 | [SV_133] Auto Mode [Hose Pair 6 Purging to SO3 Scrubber] is Off | Operate [Hose Pair 6 Purging to SO3 Scrubber] | [SV_133_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-27
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas to Scrubber Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_200] Valve Open Condition 1 | [SV_200] Auto Mode [NH3 Manufacuring Active to NH3 Scrubber] is Off | Operate [NH3 Manufacuring Active to NH3 Scrubber] | [SV_200_open] = 1
| [SV_200] Valve Open Condition 2 |  | Operate [Trip 100] | [SV_200_open] = 1
| [SV_200] Valve Open Condition 3 | [SV_200] Auto Mode [Trip 101] is Off | Operate [Trip 101] | [SV_200_open] = 1
| [SV_200] Valve Open Condition 4 | [SV_200] Auto Mode [Trip 500] is Off | Operate [Trip 500] | [SV_200_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-28
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Forward Supply to Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_201] Valve Open Condition 1 | [SV_201] Auto Mode [Hose Pair 1 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 1 NH3 Treatment Forward Active] | [SV_201_open] = 1
| [SV_201] Valve Open Condition 2 |  | Operate [Hose Pair 4 NH3 Treatment Forward Active] | [SV_201_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-29
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Forward Supply to Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_202] Valve Open Condition 1 | [SV_202] Auto Mode [Hose Pair 2 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 2 NH3 Treatment Forward Active] | [SV_202_open] = 1
| [SV_202] Valve Open Condition 2 |  | Operate [Hose Pair 5 NH3 Treatment Forward Active] | [SV_202_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-30
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Forward Supply to Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_203] Valve Open Condition 1 | [SV_203] Auto Mode [Hose Pair 3 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 3 NH3 Treatment Forward Active] | [SV_203_open] = 1
| [SV_203] Valve Open Condition 2 |  | Operate [Hose Pair 6 NH3 Treatment Forward Active] | [SV_203_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-31
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Reverse Supply to Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_211] Valve Open Condition 1 | [SV_211] Auto Mode [Hose Pair 1 NH3 Treatment Reverse Active] is Off | Operate [Hose Pair 1 NH3 Treatment Reverse Active] | [SV_211_open] = 1
| [SV_211] Valve Open Condition 2 |  | Operate [Hose Pair 4 NH3 Treatment Reverse Active] | [SV_211_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-32
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Reverse Supply to Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_212] Valve Open Condition 1 | [SV_212] Auto Mode [Hose Pair 2 NH3 Treatment Reverse Active] is Off | Operate [Hose Pair 2 NH3 Treatment Reverse Active] | [SV_212_open] = 1
| [SV_212] Valve Open Condition 2 |  | Operate [Hose Pair 5 NH3 Treatment Reverse Active] | [SV_212_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-33
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Reverse Supply to Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_213] Valve Open Condition 1 | [SV_213] Auto Mode [Hose Pair 3 NH3 Treatment Reverse Active] is Off | Operate [Hose Pair 3 NH3 Treatment Reverse Active] | [SV_213_open] = 1
| [SV_213] Valve Open Condition 2 |  | Operate [Hose Pair 6 NH3 Treatment Reverse Active] | [SV_213_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-34
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Reverse Return from Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_221] Valve Open Condition 1 | [SV_221] Auto Mode [Hose Pair 1 NH3 Treatment Reverse Active] is Off | Operate [Hose Pair 1 NH3 Treatment Reverse Active] | [SV_221_open] = 1
| [SV_221] Valve Open Condition 2 |  | Operate [Hose Pair 4 NH3 Treatment Reverse Active] | [SV_221_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-35
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Reverse Return from Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_222] Valve Open Condition 1 | [SV_222] Auto Mode [Hose Pair 2 NH3 Treatment Reverse Active] is Off | Operate [Hose Pair 2 NH3 Treatment Reverse Active] | [SV_222_open] = 1
| [SV_222] Valve Open Condition 2 |  | Operate [Hose Pair 5 NH3 Treatment Reverse Active] | [SV_222_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-36
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Reverse Return from Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_223] Valve Open Condition 1 | [SV_223] Auto Mode [Hose Pair 3 NH3 Treatment Reverse Active] is Off | Operate [Hose Pair 3 NH3 Treatment Reverse Active] | [SV_223_open] = 1
| [SV_223] Valve Open Condition 2 |  | Operate [Hose Pair 6 NH3 Treatment Reverse Active] | [SV_223_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-37
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Forward Return from Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_231] Valve Open Condition 1 | [SV_231] Auto Mode [Hose Pair 1 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 1 NH3 Treatment Forward Active] | [SV_231_open] = 1
| [SV_231] Valve Open Condition 2 |  | Operate [Hose Pair 1 Purging to NH3 Scrubber] | [SV_231_open] = 1
| [SV_231] Valve Open Condition 3 | [SV_231] Auto Mode [Hose Pair 4 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 4 NH3 Treatment Forward Active] | [SV_231_open] = 1
| [SV_231] Valve Open Condition 4 | [SV_231] Auto Mode [Hose Pair 4 Purging to NH3 Scrubber] is Off | Operate [Hose Pair 4 Purging to NH3 Scrubber] | [SV_231_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-38
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Forward Return from Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_232] Valve Open Condition 1 | [SV_232] Auto Mode [Hose Pair 2 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 2 NH3 Treatment Forward Active] | [SV_232_open] = 1
| [SV_232] Valve Open Condition 2 |  | Operate [Hose Pair 2 Purging to NH3 Scrubber] | [SV_232_open] = 1
| [SV_232] Valve Open Condition 3 | [SV_232] Auto Mode [Hose Pair 5 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 5 NH3 Treatment Forward Active] | [SV_232_open] = 1
| [SV_232] Valve Open Condition 4 | [SV_232] Auto Mode [Hose Pair 5 Purging to NH3 Scrubber] is Off | Operate [Hose Pair 5 Purging to NH3 Scrubber] | [SV_232_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-39
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | NH3 Gas Forward Return from Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_233] Valve Open Condition 1 | [SV_233] Auto Mode [Hose Pair 3 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 3 NH3 Treatment Forward Active] | [SV_233_open] = 1
| [SV_233] Valve Open Condition 2 |  | Operate [Hose Pair 3 Purging to NH3 Scrubber] | [SV_233_open] = 1
| [SV_233] Valve Open Condition 3 | [SV_233] Auto Mode [Hose Pair 6 NH3 Treatment Forward Active] is Off | Operate [Hose Pair 6 NH3 Treatment Forward Active] | [SV_233_open] = 1
| [SV_233] Valve Open Condition 4 | [SV_233] Auto Mode [Hose Pair 6 Purging to NH3 Scrubber] is Off | Operate [Hose Pair 6 Purging to NH3 Scrubber] | [SV_233_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-40
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Flushing Water Forward Return from Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_311] Valve Open Condition 1 | [SV_311] Auto Mode [Hose Pair 1 Purging to Water Tank] is Off | Operate [Hose Pair 1 Purging to Water Tank] | [SV_311_open] = 1
| [SV_311] Valve Open Condition 2 |  | Operate [Hose Pair 1 Continuity Test Active] | [SV_311_open] = 1
| [SV_311] Valve Open Condition 3 | [SV_311] Auto Mode [Hose Pair 4 Purging to Water Tank] is Off | Operate [Hose Pair 4 Purging to Water Tank] | [SV_311_open] = 1
| [SV_311] Valve Open Condition 4 | [SV_311] Auto Mode [Hose Pair 4 Continuity Test Active] is Off | Operate [Hose Pair 4 Continuity Test Active] | [SV_311_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-41
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Flushing Water Forward Return from Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_312] Valve Open Condition 1 | [SV_312] Auto Mode [Hose Pair 2 Purging to Water Tank] is Off | Operate [Hose Pair 2 Purging to Water Tank] | [SV_312_open] = 1
| [SV_312] Valve Open Condition 2 |  | Operate [Hose Pair 2 Continuity Test Active] | [SV_312_open] = 1
| [SV_312] Valve Open Condition 3 | [SV_312] Auto Mode [Hose Pair 5 Purging to Water Tank] is Off | Operate [Hose Pair 5 Purging to Water Tank] | [SV_312_open] = 1
| [SV_312] Valve Open Condition 4 | [SV_312] Auto Mode [Hose Pair 5 Continuity Test Active] is Off | Operate [Hose Pair 5 Continuity Test Active] | [SV_312_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-42
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Flushing Water Forward Return from Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_313] Valve Open Condition 1 | [SV_313] Auto Mode [Hose Pair 3 Purging to Water Tank] is Off | Operate [Hose Pair 3 Purging to Water Tank] | [SV_313_open] = 1
| [SV_313] Valve Open Condition 2 |  | Operate [Hose Pair 3 Continuity Test Active] | [SV_313_open] = 1
| [SV_313] Valve Open Condition 3 | [SV_313] Auto Mode [Hose Pair 6 Purging to Water Tank] is Off | Operate [Hose Pair 6 Purging to Water Tank] | [SV_313_open] = 1
| [SV_313] Valve Open Condition 4 | [SV_313] Auto Mode [Hose Pair 6 Continuity Test Active] is Off | Operate [Hose Pair 6 Continuity Test Active] | [SV_313_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-43
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Flushing Water Forward Supply to Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_401] Valve Open Condition 1 | [SV_401] Auto Mode [Hose Pair 1 Water Flush Active] is Off | Operate [Hose Pair 1 Water Flush Active] | [SV_401_open] = 1
| [SV_401] Valve Open Condition 2 |  | Operate [Hose Pair 4 Water Flush Active] | [SV_401_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-44
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Flushing Water Forward Supply to Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_402] Valve Open Condition 1 | [SV_402] Auto Mode [Hose Pair 2 Water Flush Active] is Off | Operate [Hose Pair 2 Water Flush Active] | [SV_402_open] = 1
| [SV_402] Valve Open Condition 2 |  | Operate [Hose Pair 5 Water Flush Active] | [SV_402_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-45
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Flushing Water Forward Supply to Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_403] Valve Open Condition 1 | [SV_403] Auto Mode [Hose Pair 3 Water Flush Active] is Off | Operate [Hose Pair 3 Water Flush Active] | [SV_403_open] = 1
| [SV_403] Valve Open Condition 2 |  | Operate [Hose Pair 5 Water Flush Active] | [SV_403_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-46
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Supply Hose Pair 1 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_811] Valve Open Condition 1 | [SV_811] Auto Mode [Hose Pair 1 Treatment Active] is Off | Operate [Hose Pair 1 Treatment Active] | [SV_811_open] = 1
| [SV_811] Valve Open Condition 2 |  | Operate [Hose Pair 1 Coupling Test Active] | [SV_811_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-47
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Supply Hose Pair 4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_812] Valve Open Condition 1 | [SV_812] Auto Mode [Hose Pair 4 Treatment Active] is Off | Operate [Hose Pair 4 Treatment Active] | [SV_812_open] = 1
| [SV_812] Valve Open Condition 2 |  | Operate [Hose Pair 4 Coupling Test Active] | [SV_812_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-48
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Supply Hose Pair 2 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_821] Valve Open Condition 1 | [SV_821] Auto Mode [Hose Pair 2 Treatment Active] is Off | Operate [Hose Pair 2 Treatment Active] | [SV_821_open] = 1
| [SV_821] Valve Open Condition 2 |  | Operate [Hose Pair 2 Coupling Test Active] | [SV_821_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-49
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Supply Hose Pair 5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_822] Valve Open Condition 1 | [SV_822] Auto Mode [Hose Pair 5 Treatment Active] is Off | Operate [Hose Pair 5 Treatment Active] | [SV_822_open] = 1
| [SV_822] Valve Open Condition 2 |  | Operate [Hose Pair 5 Coupling Test Active] | [SV_822_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-50
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Supply Hose Pair 3 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_831] Valve Open Condition 1 | [SV_831] Auto Mode [Hose Pair 3 Treatment Active] is Off | Operate [Hose Pair 3 Treatment Active] | [SV_831_open] = 1
| [SV_831] Valve Open Condition 2 |  | Operate [Hose Pair 3 Coupling Test Active] | [SV_831_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-51
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Supply Hose Pair 6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_832] Valve Open Condition 1 | [SV_832] Auto Mode [Hose Pair 6 Treatment Active] is Off | Operate [Hose Pair 6 Treatment Active] | [SV_832_open] = 1
| [SV_832] Valve Open Condition 2 |  | Operate [Hose Pair 6 Coupling Test Active] | [SV_832_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-52
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Dried Air Forward Supply to Hose Pair 1&4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_601] Valve Open Condition 1 | [SV_601] Auto Mode [Hose Pair 1 Air Purge 1 Active] is Off | Operate [Hose Pair 1 Air Purge 1 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 2 |  | Operate [Hose Pair 1 Air Purge 2 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 3 | [SV_601] Auto Mode [Hose Pair 1 Air Purge 3 Active] is Off | Operate [Hose Pair 1 Air Purge 3 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 4 | [SV_601] Auto Mode [Hose Pair 1 Air Purge 4 Active] is Off | Operate [Hose Pair 1 Air Purge 4 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 5 | [SV_601] Auto Mode [Hose Pair 2 Air Purge 1 Active] is Off | Operate [Hose Pair 2 Air Purge 1 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 6 | [SV_601] Auto Mode [Hose Pair 2 Air Purge 2 Active] is Off | Operate [Hose Pair 2 Air Purge 2 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 7 | [SV_601] Auto Mode [Hose Pair 2 Air Purge 3 Active] is Off | Operate [Hose Pair 2 Air Purge 3 Active] | [SV_601_open] = 1
| [SV_601] Valve Open Condition 8 | [SV_601] Auto Mode [Hose Pair 2 Air Purge 4 Active] is Off | Operate [Hose Pair 2 Air Purge 4 Active] | [SV_601_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-53
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Dried Air Forward Supply to Hose Pair 2&5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_602] Valve Open Condition 1 | [SV_602] Auto Mode [Hose Pair 3 Air Purge 1 Active] is Off | Operate [Hose Pair 3 Air Purge 1 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 2 |  | Operate [Hose Pair 3 Air Purge 2 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 3 | [SV_602] Auto Mode [Hose Pair 3 Air Purge 3 Active] is Off | Operate [Hose Pair 3 Air Purge 3 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 4 | [SV_602] Auto Mode [Hose Pair 3 Air Purge 4 Active] is Off | Operate [Hose Pair 3 Air Purge 4 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 5 | [SV_602] Auto Mode [Hose Pair 4 Air Purge 1 Active] is Off | Operate [Hose Pair 4 Air Purge 1 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 6 | [SV_602] Auto Mode [Hose Pair 4 Air Purge 2 Active] is Off | Operate [Hose Pair 4 Air Purge 2 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 7 | [SV_602] Auto Mode [Hose Pair 4 Air Purge 3 Active] is Off | Operate [Hose Pair 4 Air Purge 3 Active] | [SV_602_open] = 1
| [SV_602] Valve Open Condition 8 | [SV_602] Auto Mode [Hose Pair 4 Air Purge 4 Active] is Off | Operate [Hose Pair 4 Air Purge 4 Active] | [SV_602_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-54
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Dried Air Forward Supply to Hose Pair 3&6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_603] Valve Open Condition 1 | [SV_603] Auto Mode [Hose Pair 5 Air Purge 1 Active] is Off | Operate [Hose Pair 5 Air Purge 1 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 2 |  | Operate [Hose Pair 5 Air Purge 2 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 3 | [SV_603] Auto Mode [Hose Pair 5 Air Purge 3 Active] is Off | Operate [Hose Pair 5 Air Purge 3 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 4 | [SV_603] Auto Mode [Hose Pair 5 Air Purge 4 Active] is Off | Operate [Hose Pair 5 Air Purge 4 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 5 | [SV_603] Auto Mode [Hose Pair 6 Air Purge 1 Active] is Off | Operate [Hose Pair 6 Air Purge 1 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 6 | [SV_603] Auto Mode [Hose Pair 6 Air Purge 2 Active] is Off | Operate [Hose Pair 6 Air Purge 2 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 7 | [SV_603] Auto Mode [Hose Pair 6 Air Purge 3 Active] is Off | Operate [Hose Pair 6 Air Purge 3 Active] | [SV_603_open] = 1
| [SV_603] Valve Open Condition 8 | [SV_603] Auto Mode [Hose Pair 6 Air Purge 4 Active] is Off | Operate [Hose Pair 6 Air Purge 4 Active] | [SV_603_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-55
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Return Hose Pair 1 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_911] Valve Open Condition 1 | [SV_911] Auto Mode [Hose Pair 1 Treatment Active] is Off | Operate [Hose Pair 1 Treatment Active] | [SV_911_open] = 1
| [SV_911] Valve Open Condition 2 |  | Operate [Hose Pair 1 Continuity Test Active] | [SV_911_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-56
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Return Hose Pair 4 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_912] Valve Open Condition 1 | [SV_912] Auto Mode [Hose Pair 4 Treatment Active] is Off | Operate [Hose Pair 4 Treatment Active] | [SV_912_open] = 1
| [SV_912] Valve Open Condition 2 |  | Operate [Hose Pair 4 Continuity Test Active] | [SV_912_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-57
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Return Hose Pair 2 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_921] Valve Open Condition 1 | [SV_921] Auto Mode [Hose Pair 2 Treatment Active] is Off | Operate [Hose Pair 2 Treatment Active] | [SV_921_open] = 1
| [SV_921] Valve Open Condition 2 |  | Operate [Hose Pair 2 Continuity Test Active] | [SV_921_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-58
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Return Hose Pair 5 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_922] Valve Open Condition 1 | [SV_922] Auto Mode [Hose Pair 5 Treatment Active] is Off | Operate [Hose Pair 5 Treatment Active] | [SV_922_open] = 1
| [SV_922] Valve Open Condition 2 |  | Operate [Hose Pair 5 Continuity Test Active] | [SV_922_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-59
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Return Hose Pair 3 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_931] Valve Open Condition 1 | [SV_931] Auto Mode [Hose Pair 3 Treatment Active] is Off | Operate [Hose Pair 3 Treatment Active] | [SV_931_open] = 1
| [SV_931] Valve Open Condition 2 |  | Operate [Hose Pair 3 Continuity Test Active] | [SV_931_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed:

## J23-0064-ITC-002-60
J23-0064-ITC-009-01
|  |  | Commissioning |  | Revision: | A
|  |  | Hose Pair Bank Return Hose Pair 6 Solenoid Valve |  | Template: | ITC_Type
[5 empty] | Project: | MAC TLO HPU Upgrade
[5 empty] | Date: | 29/11/23
Solenoid Valve
Test Number | Test Description | Pre-Requisites | Test Action | Expected Result | Pass | Comment
| [SV_932] Valve Open Condition 1 | [SV_932] Auto Mode [Hose Pair 6 Treatment Active] is Off | Operate [Hose Pair 6 Treatment Active] | [SV_932_open] = 1
| [SV_932] Valve Open Condition 2 |  | Operate [Hose Pair 6 Continuity Test Active] | [SV_932_open] = 1
Inspection Passed Sign Off
Date:
Beyond Electrical Engineering |  | Name: |  | Signature:
Client |  | Name: |  | Signature:
Remarks or Remedial Action Required:
Remedial Action Completed: